CL-SB-H

| CHECKLIST for omission of temperature rise tests |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date: |  |  |  |  |  |  |  |  |
| Imperial Class Branch Office |  |  |  |  |  | Manufacturer name: |  |  |
| Representative switchboards: |  |  |  |  |  |  |  |  |
| Factory |  |  |  |  |  | Representative switchboard test date: |  |  |
| Item □Main switchboard □Emer. switchboard □Charging/discharging board |  | Configuration: Generator panel No.1, , Synchronization panels: Available / Not available Generator capacity: [kVA/ kW] Number: Rated voltage: [V] Rated current: [A] Circuit-breakers for generator: Type Rating (Manufacturer: ) Switches: Rated voltage: [V] Rated current: [A] Dimensions: x x [mm] (Generator panels including synchronization panels) Internal volume: [m3] Opening area: [m2] In-board mounting devices (transformers, relays, resistors, etc.) total power consumption: [W] Generator panel (including synchronization panels, but excluding feeder panels) total weight: [kg] |  |  |  |  |  |  |
| Test result list no.: |  |  |  |  |  |  |  |  |
| Drawing no.: |  |  |  |  |  |  |  |  |
| The items for omission of temperature rise tests, etc. in 2.5.10, Part H of the Rules [compared to representative switchboards] (Check if applicable) |  |  |  |  |  |  |  |  |
| Ship builder: Shipowner: Intended use: Serial number(s): |  |  |  |  |  |  | Identical | Almost identical |
| 1 | Configuration: Number of generator panels: Synchronization panels: Available / Not available |  |  |  |  |  | □ |  |
| 2 | Circuit-breakers for generator: Type Rating (Manufacturer: ) Switches: Rated voltage: [V] Rated current: [A] |  |  |  |  |  | □ |  |
| 3 | Dimensions: x x [mm] Internal volume: [m3] Opening area: [m2] Ventilation method: |  |  |  |  |  | □ | □ |
| 4 | Busbars and connecting conductor dimensions, layout and structure |  |  |  |  |  | □ | □ |
|  | Busbars and connecting conductors load currents |  |  |  |  |  | □ | □ |
|  | Terminals structure and arrangement (except for the control circuits, instrument circuits, etc.) |  |  |  |  |  | □ | □ |
| 5 | In-board mounting devices (transformers, relays, resistors, etc.) arrangement |  |  |  |  |  | □ | □ |
|  | Total power consumption: [W] |  |  |  |  |  | □ | □ |
| 6 | The use of subcontracted products is managed by incoming inspection standards |  |  |  |  |  | □ |  |
|  | Key working standards, equipment, and operator skills with respect to the production method remain the same or have been improved. |  |  |  |  |  | □ |  |
|  | The facilities, procedures and criteria for testing and inspection are under sufficient management. |  |  |  |  |  | □ |  |
|  |  | As stated above, we certify that the , which are surveyed in this time, is of the same type, manufactured at the same factory and by the same production method as the representative switchboards mentioned above. |  |  |  |  |  |  |
|  |  |  |  |  | Testing and Inspection Director: |  |  |  |