CL-ST-H

| CHECKLIST for omission of temperature rise tests |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date: |  |  |  |  |  |  |  |  |
| Imperial Class Branch Office |  |  |  |  |  | Manufacturer name: |  |  |
| Representative starters: |  |  |  |  |  |  |  |  |
| Factory |  |  |  |  |  | Representative starters test date: |  |  |
| Item □ Starters □ A.C. motor □ D.C. motor □ Controlgear |  | Capacity: [kW] Rated voltage: [V] Control circuit voltage: [V] Main circuit load current: [A] Motor starting system: Direct input / Star-delta / Voltage drop External dimensions: x x [mm] Opening area: [m2] Main circuit-breakers: Type Rating (Manufacturer: ) Electromagnetic contactors: Type Rating (Manufacturer: ) In-board mounting devices (Transformers, relays, etc.) total power consumption: [W] |  |  |  |  |  |  |
| Test result list no.: |  |  |  |  |  |  |  |  |
| Drawing no.: |  |  |  |  |  |  |  |  |
| The items for omission of temperature rise tests, etc. in 2.8.4, Part H of the Rules [compared to representative starters] (Check if applicable) |  |  |  |  |  |  |  |  |
| Ship builder: Hull number: Intended use: Serial number(s): |  |  |  |  |  |  | Identical | Almost identical |
| 1 | Capacity: [kW] Rated voltage: [V] (Control circuit voltage: [V]) Degree of protection: Motor starting system: Direct input / Star-delta / Voltage drop |  |  |  |  |  | □ |  |
| 2 | Main circuit load current: [A] |  |  |  |  |  | □ | □ |
| 3 | Main circuit-breakers (or electromagnetic contactor) type and rating (manufactures) |  |  |  |  |  | □ |  |
| 4 | Cooling vent opening arear: [m2] |  |  |  |  |  | □ |  |
| 5 | Containers (boards, boxes, etc.) external dimensions, internal volume and ventilation method |  |  |  |  |  | □ | □ |
| 6 | Main circuit conductor dimensions, layout, connections and terminal structure |  |  |  |  |  | □ | □ |
| 7 | In-board mounting devices (Transformers, relays, resistors, etc.) arrangement |  |  |  |  |  | □ | □ |
|  | Total power consumption: [W] |  |  |  |  |  | □ | □ |
| 8 | Rectifiers [selenium, semiconductors, other: ] and rating Reactors type and rating |  |  |  |  |  | □ |  |
| 9 | The use of subcontracted products is managed by incoming inspection standards |  |  |  |  |  | □ |  |
|  | Key working standards, equipment, and operator skills with respect to the production method remain the same or have been improved. |  |  |  |  |  | □ |  |
|  | The facilities, procedures and criteria for testing and inspection are under sufficient management. |  |  |  |  |  | □ |  |
|  |  | As stated above, we certify that the , which are surveyed in this time, is of the same type, manufactured at the same factory and by the same production method as the representative starters mentioned above. |  |  |  |  |  |  |
|  |  |  |  |  | Testing and Inspection Director: |  |  |  |