CL-TF-IL

| CHECKLIST for omission of temperature rise tests |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date: |  |  |  |  |  |  |  |  |
| Imperial Class Branch |  |  |  |  |  | Name of manufacturer: |  |  |
| Representative transformer: |  |  |  |  |  |  |  |  |
| Factory |  |  |  |  |  | Test date for representative transformer: |  |  |
| Item |  | Total capacity: [kVA] Total number of transformers: ( [phase(s)], [kVA]) Voltage(primary / secondary): / [V] Current (primary / secondary): / [A] Thermal class: Dimensions of housing: × × [mm](Total number of transformers: ) Area of opening: [m2] No-load loss / No-load current: [W] / [A] (%) Load loss / Impedance voltage: [W] / [V] (%) Total weight: [kg] |  |  |  |  |  |  |
| Test result list no.: |  |  |  |  |  |  |  |  |
| Drawing no.: |  |  |  |  |  |  |  |  |
| The items for omission of temperature rise tests in 2.10.6-1, Part 8 of the Rules [compared to representative transformer] (Check if applicable) |  |  |  |  |  |  |  |  |
| Ship builder: Ship number: How to use: Product number |  |  |  |  |  |  | Identical | Almost identical |
| 1 | Total capacity: [kVA] Total number of transformers: ( [phase(s)], [kVA]) Voltage (primary / secondary): / [V] Current (primary / secondary): / [A] Thermal class: , Degree of protection: |  |  |  |  |  | □ |  |
| 2 | Cooling method: , Dimensions of housing: × × [mm] |  |  |  |  |  | □ |  |
| 3 | Area of opening: [m2], Total weight: [kg] |  |  |  |  |  | □ |  |
| 4 | Material for iron core, composition, production method and accuracy |  |  |  |  |  | □ |  |
|  | Sizes and species of conductors used for string |  |  |  |  |  | □ |  |
|  | Types and processing methods for insulating materials (impregnation method, drying method, etc.) |  |  |  |  |  | □ |  |
|  | Construction of terminals, processing methods for terminals of internal wiring |  |  |  |  |  | □ |  |
| 5 | Resistance measurements for each winding (primary / secondary): / [Ω] |  |  |  |  |  | □ | □ |
|  | No-load loss / No-load current: [W] / [A] (%) |  |  |  |  |  | □ | □ |
|  | Load loss / Impedance voltage: [W] / [V] (%) |  |  |  |  |  | □ | □ |
| 6 | The use of subcontracted products is managed by incoming inspection standards |  |  |  |  |  | □ |  |
|  | Key working standards, equipment, and operator skills with respect to the production method remain the same or have been improved. |  |  |  |  |  | □ |  |
|  | The facilities, procedures and criteria for testing and inspection are under sufficient management. |  |  |  |  |  | □ |  |
|  |  | As stated above, we certify that the , which are surveyed in this time, is of the same type, manufactured at the same factory and by the same production method as the representative transformer mentioned above. |  |  |  |  |  |  |
|  |  |  |  |  | Testing and Inspection Director: |  |  |  |